## Instructions
MINNESOTA ELECTRIC UTILITY INFORMATION REPORTING - FORECAST SECTION
CY 2024
INSTRUCTIONS
These worksheet tabs correspond closely to the tables in the forecast instructions received by the utility.
The forecast instructions pertain to the data to be entered in each of the worksheet tabs.
PLEASE DO NOT CHANGE THE NAME OR ORDER OF ANY OF THE WORKSHEET TABS OR CHANGE THE NAME OF THIS WORKBOOK.
In general, the following color scheme is used on each worksheet:
Cells shown with a dark blue background correspond to applicable Minnesota Rules section number/names on each worksheet tab.
Cells shown with a light green background correspond to headings for sections, columns, row, or individual fields on each worksheet tab.
Cells shown with a light yellow background require data to be entered by the utility.
Cells shown with a light brown background generally correspond to fields that are calculated from the data entered, or
correspond to fields that are informational and not to be modified by the utility.
Each worksheet tab contains a section labeled "Comments" below the main data entry area.
You may enter any comments in that section to provide an explaination or clarification on the data entered; OR
why data IS NOT being entered on the worksheet tab (for example: cells left blank).
Cells with automatic calculations (typically totals) are provided on some worksheets to assist with the accuracy of the data provided by the utility. It is recognized that there may be circumstances in which the data entered by the utility is more appropriate or accurate than the value in the corresponding automatically-calculated cell. If the value in the automatically-calculated cell does not match the value that your utility entered, please provide an explanation in the Comments area at the bottom of the worksheet tab.
Please complete the required worksheet tabs and save the completed workbook to your local computer.
Then attach the completed workbook to an email message, include your contact information, and send it to the following email address:
rule7610.reports@state.mn.us
If you have any questions please contact:
Anne Sell
MN Department of Commerce, Division of Energy Resources
Email: rule7610.reports@state.mn.us (preferred)
Direct: 651-539-1851 (leave a message)
COMM Website: https://mn.gov/commerce/industries/energy/utilities/annual-reporting/

## Registration
MINNESOTA ELECTRIC UTILITY ANNUAL REPORT - FORECAST SECTION |  |  | * * * CORRECTED * * * | < < If this spreadsheet needs to be updated and re-submitted, please
CY 2024 |  |  |  | change the Font color in Cell G1 from White to Automatic (Black).
7610.0120 REGISTRATION
ENTITY ID# | 121 | RILS ID# | U12555
REPORT YEAR | 2024
UTILITY DETAILS |  | CONTACT INFORMATION
UTILITY NAME | Great River Energy | CONTACT NAME | John Williams
STREET ADDRESS | 12300 Elm Creek Blvd | CONTACT TITLE | Senior Forecaster
CITY | Maple Grove | CONTACT STREET ADDRESS | 12300 Elm Creek Blvd
STATE | MN | CITY | Maple Grove
ZIP CODE | 55369-4718 | STATE | MN
TELEPHONE | 763-241-5775 | ZIP CODE | 55369-5775
| Scroll down to see allowable UTILITY TYPES | TELEPHONE | 763-445-6119
* UTILITY TYPE | Co-op | CONTACT E-MAIL | jwilliams@GREnergy.com
COMMENTS |  | PREPARER INFORMATION | (do not type "Same as Above")
GRE considers some of the data within this file to be Trade Secret because it contains confidential customer information and contract terms. Disclosure could affect our competitive position and customer relationships by revealing sensitive business details. |  | PERSON PREPARING FORMS | John Williams
|  | PREPARER'S TITLE | Senior Forecaster
|  | DATE | 2025-07-01
|  | PREPARER'S EMAIL ADDRESS | jwilliams@GREnergy.com
ALLOWABLE UTILITY TYPES
Code
Private
Public
Co-op
Hide BlankPlant Sheet
Un-Hide BlankPlant Sheet
Un-Hide All Sheets

## SysConsumers
MINNESOTA ELECTRIC UTILITY INFORMATION REPORTING - FORECAST SECTION (Continued) | [10 empty] | * * * CORRECTED * * *
CY 2024
7610.0310 Item A. SYSTEM FORECAST OF ANNUAL ELECTRIC CONSUMPTION BY ULTIMATE CONSUMERS
Provide actual data for your entire system for the past year, your estimate for the present year and all future forecast years.
Please remember that the number of customers should reflect the number of customers at year's end, not the number of meters.
|  |  | FARM | NON-FARM RESIDENTIAL | COMMERCIAL | MINING * | INDUSTRIAL | STREET & HIGHWAY LIGHTING | OTHER | SYSTEM TOTALS | Calculated System Totals
Past Year | 2024 | No. of Customers | 456536.59 | 4196375.27 |  | 344538.38 | 44015 | 12241 | 3396 | 5057102.24 | 5057102.24
|  | MWH | 443343.29 | 3707537.87 |  | 1042820.97 | 1642906.74 | 16623.86 | 46147.78 | 6899380.52 | 6899380.51
Present Year | 2025 | No. of Customers | 465311.44 | 4276332.48 |  | 355402.07 | 44450.8 | 12371.35 | 3499 | 5157367.15 | 5157367.14
|  | MWH | 491886.36 | 4048691.88 |  | 1068856.12 | 1796710.12 | 16890.4 | 47214.98 | 7470249.85 | 7470249.86
1st Forecast Year | 2026 | No. of Customers | 474862.42 | 4360912.26 |  | 368755.12 | 45122.69 | 12630.35 | 3660 | 5265942.85 | 5265942.84
|  | MWH | 500707.36 | 4122253.22 |  | 1092846.3 | 1828973.83 | 17162.36 | 47703.38 | 7609646.46 | 7609646.45
2nd Forecast Year | 2027 | No. of Customers | 480152.98 | 4405954.31 |  | 372366.49 | 45864.79 | 12630.35 | 3660 | 5320628.91 | 5320628.92
|  | MWH | 504980.53 | 4154466.54 |  | 1094498.56 | 1844252.99 | 17104.27 | 47703.38 | 7663006.27 | 7663006.27
3rd Forecast Year | 2028 | No. of Customers | 485071.86 | 4447917.72 |  | 375994.2 | 46495.32 | 12630.35 | 3660 | 5371769.45 | 5371769.45
|  | MWH | 510731.26 | 4201073.81 |  | 1095481.41 | 1853291.78 | 17042.45 | 47703.38 | 7725324.09 | 7725324.09
4th Forecast Year | 2029 | No. of Customers | 489614.78 | 4486770.53 |  | 379666.58 | 47084.97 | 12630.35 | 3660 | 5419427.21 | 5419427.21
|  | MWH | 513352.92 | 4219004.78 |  | 1097636.45 | 1861862.68 | 16979.09 | 47703.38 | 7756539.3 | 7756539.3
5th Forecast Year | 2030 | No. of Customers | 493747.15 | 4522233.81 |  | 383394.27 | 47724.09 | 12630.35 | 3660 | 5463389.67 | 5463389.67
|  | MWH | 516985.3 | 4247048.94 |  | 1097044.09 | 1868011.53 | 16895.34 | 47703.38 | 7793688.59 | 7793688.58
6th Forecast Year | 2031 | No. of Customers | 497477.42 | 4554379.13 |  | 387145.22 | 48383.07 | 12630.35 | 3660 | 5503675.19 | 5503675.19
|  | MWH | 520380.34 | 4273502.99 |  | 1097547.46 | 1876466.12 | 16797 | 47703.38 | 7832397.3 | 7832397.29
7th Forecast Year | 2032 | No. of Customers | 500838.02 | 4583452.9 |  | 390925.18 | 49041.88 | 12630.35 | 3660 | 5540548.33 | 5540548.33
|  | MWH | 525207.95 | 4313916.79 |  | 1098658.78 | 1886365.19 | 16710 | 47703.38 | 7888562.09 | 7888562.09
8th Forecast Year | 2033 | No. of Customers | 503883.73 | 4609913.06 |  | 394744.77 | 49685.71 | 12630.35 | 3660 | 5574517.62 | 5574517.62
|  | MWH | 527176.22 | 4328070.33 |  | 1101114.1 | 1897346.49 | 16634.06 | 47703.38 | 7918044.58 | 7918044.58
9th Forecast Year | 2034 | No. of Customers | 506697.9 | 4634454.94 |  | 398612.69 | 50334.17 | 12630.35 | 3660 | 5606390.05 | 5606390.05
|  | MWH | 530828.3 | 4358308.22 |  | 1104972 | 1910304.96 | 16568.02 | 47703.38 | 7968684.89 | 7968684.88
10th Forecast Year | 2035 | No. of Customers | 509343.66 | 4657586.21 |  | 402525.91 | 50995.46 | 12630.35 | 3660 | 5636741.59 | 5636741.59
|  | MWH | 534626.01 | 4390154.98 |  | 1109919.26 | 1925274.89 | 16510.64 | 47703.38 | 8024189.16 | 8024189.16
11th Forecast Year | 2036 | No. of Customers | 511840.36 | 4679462.22 |  | 406479.07 | 51661.81 | 12630.35 | 3660 | 5665733.81 | 5665733.81
|  | MWH | 540048.24 | 4437399.35 |  | 1115800.15 | 1941744.2 | 16461.01 | 47703.38 | 8099156.32 | 8099156.33
12th Forecast Year | 2037 | No. of Customers | 514186.82 | 4700068.56 |  | 410475.48 | 52331.32 | 12630.35 | 3660 | 5693352.55 | 5693352.53
|  | MWH | 542463.52 | 4456762.43 |  | 1122109.23 | 1958768.83 | 16417.81 | 47703.38 | 8144225.21 | 8144225.2
13th Forecast Year | 2038 | No. of Customers | 516386.16 | 4719435.06 |  | 414512.24 | 53002.53 | 12630.35 | 3660 | 5719626.34 | 5719626.34
|  | MWH | 546474.7 | 4491251.71 |  | 1129769.57 | 1977704.01 | 16380.12 | 47703.38 | 8209283.5 | 8209283.49
14th Forecast Year | 2039 | No. of Customers | 518448.34 | 4737651.63 |  | 418588.91 | 53678.08 | 12630.35 | 3660 | 5744657.32 | 5744657.31
|  | MWH | 550460.76 | 4525708.86 |  | 1137876.85 | 1997298.7 | 16347.06 | 47703.38 | 8275395.6 | 8275395.61
* MINING needs to be reported as a separate category only if annual sales are greater than 1,000 GWH. Otherwise, include MINING in the INDUSTRIAL category.
COMMENTS

## MNConsumers
MINNESOTA ELECTRIC UTILITY INFORMATION REPORTING - FORECAST SECTION (Continued) | [10 empty] | * * * CORRECTED * * *
CY 2024
7610.0310 Item A. MINNESOTA-ONLY FORECAST OF ANNUAL ELECTRIC CONSUMPTION BY ULTIMATE CONSUMERS
Provide actual data for your Minnesota service area only, for the past year, your best estimate for the present year and all future forecast years.
Please remember that the number of customers should reflect the actual number of customers the utility has in that category at year's end, not the number of meters.
|  |  | FARM | NON-FARM RESIDENTIAL | COMMERCIAL | MINING * | INDUSTRIAL | STREET & HIGHWAY LIGHTING | OTHER | MN-ONLY TOTALS | Calculated MN-Only Totals
Past Year | 2024 | No. of Customers | 456536.59 | 4196375.27 |  | 344538.38 | 44015 | 12241 | 3396 | 5057102.24 | 5057102.24
|  | MWH | 443343.29 | 3707537.87 |  | 1042820.97 | 1642906.74 | 16623.86 | 46147.78 | 6899380.52 | 6899380.51
Present Year | 2025 | No. of Customers | 465311.44 | 4276332.48 |  | 355402.07 | 44450.8 | 12371.35 | 3499 | 5157367.15 | 5157367.14
|  | MWH | 491886.36 | 4048691.88 |  | 1068856.12 | 1796710.12 | 16890.4 | 47214.98 | 7470249.85 | 7470249.86
1st Forecast Year | 2026 | No. of Customers | 474862.42 | 4360912.26 |  | 368755.12 | 45122.69 | 12630.35 | 3660 | 5265942.85 | 5265942.84
|  | MWH | 500707.36 | 4122253.22 |  | 1092846.3 | 1828973.83 | 17162.36 | 47703.38 | 7609646.46 | 7609646.45
2nd Forecast Year | 2027 | No. of Customers | 480152.98 | 4405954.31 |  | 372366.49 | 45864.79 | 12630.35 | 3660 | 5320628.91 | 5320628.92
|  | MWH | 504980.53 | 4154466.54 |  | 1094498.56 | 1844252.99 | 17104.27 | 47703.38 | 7663006.27 | 7663006.27
3rd Forecast Year | 2028 | No. of Customers | 485071.86 | 4447917.72 |  | 375994.2 | 46495.32 | 12630.35 | 3660 | 5371769.45 | 5371769.45
|  | MWH | 510731.26 | 4201073.81 |  | 1095481.41 | 1853291.78 | 17042.45 | 47703.38 | 7725324.09 | 7725324.09
4th Forecast Year | 2029 | No. of Customers | 489614.78 | 4486770.53 |  | 379666.58 | 47084.97 | 12630.35 | 3660 | 5419427.21 | 5419427.21
|  | MWH | 513352.92 | 4219004.78 |  | 1097636.45 | 1861862.68 | 16979.09 | 47703.38 | 7756539.3 | 7756539.3
5th Forecast Year | 2030 | No. of Customers | 493747.15 | 4522233.81 |  | 383394.27 | 47724.09 | 12630.35 | 3660 | 5463389.67 | 5463389.67
|  | MWH | 516985.3 | 4247048.94 |  | 1097044.09 | 1868011.53 | 16895.34 | 47703.38 | 7793688.59 | 7793688.58
6th Forecast Year | 2031 | No. of Customers | 497477.42 | 4554379.13 |  | 387145.22 | 48383.07 | 12630.35 | 3660 | 5503675.19 | 5503675.19
|  | MWH | 520380.34 | 4273502.99 |  | 1097547.46 | 1876466.12 | 16797 | 47703.38 | 7832397.3 | 7832397.29
7th Forecast Year | 2032 | No. of Customers | 500838.02 | 4583452.9 |  | 390925.18 | 49041.88 | 12630.35 | 3660 | 5540548.33 | 5540548.33
|  | MWH | 525207.95 | 4313916.79 |  | 1098658.78 | 1886365.19 | 16710 | 47703.38 | 7888562.09 | 7888562.09
8th Forecast Year | 2033 | No. of Customers | 503883.73 | 4609913.06 |  | 394744.77 | 49685.71 | 12630.35 | 3660 | 5574517.62 | 5574517.62
|  | MWH | 527176.22 | 4328070.33 |  | 1101114.1 | 1897346.49 | 16634.06 | 47703.38 | 7918044.58 | 7918044.58
9th Forecast Year | 2034 | No. of Customers | 506697.9 | 4634454.94 |  | 398612.69 | 50334.17 | 12630.35 | 3660 | 5606390.05 | 5606390.05
|  | MWH | 530828.3 | 4358308.22 |  | 1104972 | 1910304.96 | 16568.02 | 47703.38 | 7968684.89 | 7968684.88
10th Forecast Year | 2035 | No. of Customers | 509343.66 | 4657586.21 |  | 402525.91 | 50995.46 | 12630.35 | 3660 | 5636741.59 | 5636741.59
|  | MWH | 534626.01 | 4390154.98 |  | 1109919.26 | 1925274.89 | 16510.64 | 47703.38 | 8024189.16 | 8024189.16
11th Forecast Year | 2036 | No. of Customers | 511840.36 | 4679462.22 |  | 406479.07 | 51661.81 | 12630.35 | 3660 | 5665733.81 | 5665733.81
|  | MWH | 540048.24 | 4437399.35 |  | 1115800.15 | 1941744.2 | 16461.01 | 47703.38 | 8099156.32 | 8099156.33
12th Forecast Year | 2037 | No. of Customers | 514186.82 | 4700068.56 |  | 410475.48 | 52331.32 | 12630.35 | 3660 | 5693352.55 | 5693352.53
|  | MWH | 542463.52 | 4456762.43 |  | 1122109.23 | 1958768.83 | 16417.81 | 47703.38 | 8144225.21 | 8144225.2
13th Forecast Year | 2038 | No. of Customers | 516386.16 | 4719435.06 |  | 414512.24 | 53002.53 | 12630.35 | 3660 | 5719626.34 | 5719626.34
|  | MWH | 546474.7 | 4491251.71 |  | 1129769.57 | 1977704.01 | 16380.12 | 47703.38 | 8209283.5 | 8209283.49
14th Forecast Year | 2039 | No. of Customers | 518448.34 | 4737651.63 |  | 418588.91 | 53678.08 | 12630.35 | 3660 | 5744657.32 | 5744657.31
|  | MWH | 550460.76 | 4525708.86 |  | 1137876.85 | 1997298.7 | 16347.06 | 47703.38 | 8275395.6 | 8275395.61
* MINING needs to be reported as a separate category only if annual sales are greater than 1,000 GWH. Otherwise, include MINING in the INDUSTRIAL category.
COMMENTS

## Consumption
MINNESOTA ELECTRIC UTILITY INFORMATION REPORTING - FORECAST SECTION (Continued) | [9 empty] | * * * CORRECTED * * *
CY 2024
7610.0310 Item B. FORECAST OF ANNUAL SYSTEM CONSUMPTION AND GENERATION DATA | [5 empty] | (Express in MWH)
NOTE: (Column 1 + Column 2) = (Column 3 + Column 5) - (Column 4 + Column 6)
It is recognized that there may be circumstances in which the data entered by the utility is more appropriate or accurate than the value in the corresponding automatically-calculated cell. If the value in the automatically-calculated cell does not match the value that your utility entered, please provide an explanation in the Comments area at the bottom of the worksheet tab.
|  | Column 1 | Column 2 | Column 3 | Column 4 | Column 5 | Column 6 | Column 7 | Column 8 | CALCULATED
|  | CONSUMPTION BY ULTIMATE CONSUMERS IN MINNESOTA MWH [7610.0310 B(1)] | CONSUMPTION BY ULTIMATE CONSUMERS OUTSIDE OF MINNESOTA MWH [7610.0310 B(2)] | RECEIVED FROM OTHER UTILITIES MWH [7610.0310 B(3)] | DELIVERED FOR RESALE MWH [7610.0310 B(4)] | TOTAL ANNUAL NET GENERATION MWH [7610.0310 B(5)] | TRANSMISSION LINE SUBSTATION AND DISTRIBUTION LOSSES MWH [7610.0310 B(6)] | TOTAL WINTER CONSUMPTION MWH [7610.0310 B(7)] | TOTAL SUMMER CONSUMPTION MWH [7610.0310 B(7)] | (GENERATION + RECEIVED) MINUS (RESALE + LOSSES) MINUS (CONSUMPTION) SHOULD EQUAL ZERO
Past Year | 2024 | 11208933.6735 |  | 15520088.8117 | 4077712.0013 | 526586.0017 | 760029.1386 | 7509985.5613 | 3698948.1123 | -1.8626e-09
Present Year | 2025 | 10576859.6214 |  | 14821089.5617 | 4036980.0009 | 509921.0012 | 717170.9407 | 7086495.9464 | 3490363.6751 | 0
1st Forecast Year | 2026 | 10580405.7929 |  | 15617600.1843 | 4799754.0011 | 479971.0009 | 717411.3912 | 7088871.8813 | 3491533.9117 | 3.7253e-09
2nd Forecast Year | 2027 | 10599140.4849 |  | 15400905.1947 | 4566054.0014 | 482971.001 | 718681.7093 | 7101424.1249 | 3497716.36 | 0
3rd Forecast Year | 2028 | 10646800.2397 |  | 15145811.5509 | 4260654.0009 | 483556.0002 | 721913.3104 | 7133356.1606 | 3513444.0791 | 0
4th Forecast Year | 2029 | 10621912.6671 |  | 18583222.46 | 7724055.0017 | 482971.0009 | 720225.7922 | 7116681.4869 | 3505231.1801 | -5.5879e-09
5th Forecast Year | 2030 | 10674737.1176 |  | 18790014.0892 | 7889314.3165 | 497844.9338 | 723807.5889 | 7152073.8688 | 3522663.2488 | 0
6th Forecast Year | 2031 | 10727825.6904 |  | 19420596.3111 | 8463763.565 | 498400.2388 | 727407.2945 | 7187643.2126 | 3540182.4778 | 0
7th Forecast Year | 2032 | 10781179.7061 |  | 21249962.7574 | 10235602.9863 | 497844.9338 | 731024.9988 | 7223390.4031 | 3557789.303 | 0
8th Forecast Year | 2033 | 10834800.4919 |  | 21473839.7325 | 10402223.3829 | 497844.9338 | 734660.7915 | 7259316.3296 | 3575484.1623 | 0
9th Forecast Year | 2034 | 10888689.3816 |  | 21698153.2472 | 10568994.0362 | 497844.9338 | 738314.7632 | 7295421.8856 | 3593267.4959 | 1.8626e-09
10th Forecast Year | 2035 | 10942847.7157 |  | 21928994.0521 | 10742559.5705 | 498400.2388 | 741987.0047 | 7331707.9695 | 3611139.7462 | 0
11th Forecast Year | 2036 | 10997276.8415 |  | 22164451.6731 | 10919342.1579 | 497844.9338 | 745677.6075 | 7368175.4838 | 3629101.3577 | 0
12th Forecast Year | 2037 | 11051978.1129 |  | 22406619.4466 | 11103099.6042 | 497844.9338 | 749386.6633 | 7404825.3357 | 3647152.7773 | 1.8626e-09
13th Forecast Year | 2038 | 11106952.8907 |  | 22649588.5555 | 11287366.3343 | 497844.9338 | 753114.2643 | 7441658.4368 | 3665294.4539 | 1.8626e-09
14th Forecast Year | 2039 | 11217452.1941 |  | 22899458.0667 | 11419799.3689 | 498400.2388 | 760606.7425 | 7515692.97 | 3701759.224 | 0
COMMENTS

## PeakDemand
MINNESOTA ELECTRIC UTILITY INFORMATION REPORTING - FORECAST SECTION (Continued) | [12 empty] | * * * CORRECTED * * *
CY 2024
7610.0310 Item C. PEAK DEMAND BY ULTIMATE CONSUMERS AT THE TIME OF ANNUAL SYSTEM PEAK (in MW)
|  | FARM | NON-FARM RESIDENTIAL | COMMERCIAL | MINING | INDUSTRIAL | STREET & HIGHWAY LIGHTING | OTHER | SYSTEM TOTALS | Calculated System Totals
Last Year Peak Day | 2024 | 76.33 | 640.5 | 202.56 | 0 | 319.12 | 3.23 | 98.4 | 1340.14 | 1340.14
7610.0310 Item D. PEAK DEMAND BY MONTH FOR THE LAST CALENDAR YEAR (in MW)
|  | JANUARY | FEBRUARY | MARCH | APRIL | MAY | JUNE | JULY | AUGUST | SEPTEMBER | OCTOBER | NOVEMBER | DECEMBER
Last Year | 2024 | 1278.81 | 1113.82 | 997.32 | 890.58 | 857.27 | 1121.92 | 1340.14 | 1330.52 | 1173.01 | 899.04 | 1138.85 | 1302.64
COMMENTS

## FirmPurch
MINNESOTA ELECTRIC UTILITY INFORMATION REPORTING - FORECAST SECTION (Continued) |  |  |  |  | * * * CORRECTED * * * |  | * * * CORRECTED * * *
CY 2024
7610.0310 Item E. PART 1: FIRM PURCHASES |  |  |  | (Express in MegaWatts)
[TRADE SECRET DATA BEGINS
NAME OF OTHER UTILITY =>
Past Year | 2024 | Summer
Winter
Present Year | 2025 | Summer
Winter
1st Forecast Year | 2026 | Summer
Winter
2nd Forecast Year | 2027 | Summer
Winter
3rd Forecast Year | 2028 | Summer
Winter
4th Forecast Year | 2029 | Summer
Winter
5th Forecast Year | 2030 | Summer
Winter
6th Forecast Year | 2031 | Summer
Winter
7th Forecast Year | 2032 | Summer
Winter
8th Forecast Year | 2033 | Summer
Winter
9th Forecast Year | 2034 | Summer
Winter
10th Forecast Year | 2035 | Summer
Winter
11th Forecast Year | 2036 | Summer
Winter
12th Forecast Year | 2037 | Summer
Winter
13th Forecast Year | 2038 | Summer
Winter
14th Forecast Year | 2039 | Summer
Winter
TRADE SECRET DATA ENDS]
COMMENTS
Dodge County andThree Waters Wind are MISO Surplus Interconnection Service Projects which do not receive accredited capacity. GRE considers this data to be Trade Secret because it contains confidential customer information and contract terms. Disclosure could affect our competitive position and customer relationships by revealing sensitive business details.

## FirmSales
MINNESOTA ELECTRIC UTILITY INFORMATION REPORTING - FORECAST SECTION (Continued) | [5 empty] | * * * CORRECTED * * * | * * * CORRECTED * * *
CY 2024
7610.0310 Item E. PART 2: FIRM SALES |  |  |  | (Express in MegaWatts)
[TRADE SECRET DATA BEGINS
NAME OF OTHER UTILITY =>
Past Year | 2024 | Summer
Winter
Present Year | 2025 | Summer
Winter
1st Forecast Year | 2026 | Summer
Winter
2nd Forecast Year | 2027 | Summer
Winter
3rd Forecast Year | 2028 | Summer
Winter
4th Forecast Year | 2029 | Summer
Winter
5th Forecast Year | 2030 | Summer
Winter
6th Forecast Year | 2031 | Summer
Winter
7th Forecast Year | 2032 | Summer
Winter
8th Forecast Year | 2033 | Summer
Winter
9th Forecast Year | 2034 | Summer
Winter
10th Forecast Year | 2035 | Summer
Winter
11th Forecast Year | 2036 | Summer
Winter
12th Forecast Year | 2037 | Summer
Winter
13th Forecast Year | 2038 | Summer
Winter
14th Forecast Year | 2039 | Summer
Winter
TRADE SECRET DATA ENDS]
COMMENTS
GRE considers this data to be Trade Secret because it contains confidential customer information and contract terms. Disclosure could affect our competitive position and customer relationships by revealing sensitive business details.

## ParticipPurch
MINNESOTA ELECTRIC UTILITY INFORMATION REPORTING - FORECAST SECTION (Continued) | [5 empty] | * * * CORRECTED * * * | * * * CORRECTED * * *
CY 2024
7610.0310 Item F. PART 1: PARTICIPATION PURCHASES |  |  |  | (Express in MegaWatts)
[TRADE SECRET DATA BEGINS
NAME OF OTHER UTILITY =>
Past Year | 2024 | Summer
Winter
Present Year | 2025 | Summer
Winter
1st Forecast Year | 2026 | Summer
Winter
2nd Forecast Year | 2027 | Summer
Winter
3rd Forecast Year | 2028 | Summer
Winter
4th Forecast Year | 2029 | Summer
Winter
5th Forecast Year | 2030 | Summer
Winter
6th Forecast Year | 2031 | Summer
Winter
7th Forecast Year | 2032 | Summer
Winter
8th Forecast Year | 2033 | Summer
Winter
9th Forecast Year | 2034 | Summer
Winter
10th Forecast Year | 2035 | Summer
Winter
11th Forecast Year | 2036 | Summer
Winter
12th Forecast Year | 2037 | Summer
Winter
13th Forecast Year | 2038 | Summer
Winter
14th Forecast Year | 2039 | Summer
Winter
TRADE SECRET DATA ENDS]
COMMENTS
GRE considers this data to be Trade Secret because it contains confidential customer information and contract terms. Disclosure could affect our competitive position and customer relationships by revealing sensitive business details.

## ParticipSales
MINNESOTA ELECTRIC UTILITY INFORMATION REPORTING - FORECAST SECTION (Continued) |  |  |  |  | * * * CORRECTED * * * | * * * CORRECTED * * *
CY 2024
7610.0310 Item F. PART 2: PARTICIPATION SALES |  |  |  | (Express in MegaWatts)
[TRADE SECRET DATA BEGINS
NAME OF OTHER UTILITY =>
Past Year | 2024 | Summer
Winter
Present Year | 2025 | Summer
Winter
1st Forecast Year | 2026 | Summer
Winter
2nd Forecast Year | 2027 | Summer
Winter
3rd Forecast Year | 2028 | Summer
Winter
4th Forecast Year | 2029 | Summer
Winter
5th Forecast Year | 2030 | Summer
Winter
6th Forecast Year | 2031 | Summer
Winter
7th Forecast Year | 2032 | Summer
Winter
8th Forecast Year | 2033 | Summer
Winter
9th Forecast Year | 2034 | Summer
Winter
10th Forecast Year | 2035 | Summer
Winter
11th Forecast Year | 2036 | Summer
Winter
12th Forecast Year | 2037 | Summer
Winter
13th Forecast Year | 2038 | Summer
Winter
14th Forecast Year | 2039 | Summer
Winter
TRADE SECRET ENDS]
COMMENTS
GRE considers this data to be Trade Secret because it contains confidential customer information and contract terms. Disclosure could affect our competitive position and customer relationships by revealing sensitive business details.

## Load&GenCap
MINNESOTA ELECTRIC UTILITY INFORMATION REPORTING - FORECAST SECTION (Continued) | [11 empty] | * * * CORRECTED * * * |  |  |  |  | * * * CORRECTED * * *
CY 2024
7610.0310 Item G. LOAD AND GENERATION CAPACITY |  |  |  |  | (Express in MegaWatts)
|  |  | Column 1 | Column 2 | Column 3 | Column 4 | Column 5 | Column 6 | Column 7 | Column 8 | Column 9 | Column 10 | Column 11 | Column 12 | Column 13 | Column 14 | Column 15
|  |  | SEASONAL MAXIMUM DEMAND | SCHEDULE L. PURCHASE AT THE TIME OF SEASONAL SYSTEM DEMAND | SEASONAL SYSTEM DEMAND | ANNUAL SYSTEM DEMAND | SEASONAL FIRM PURCHASES (TOTAL) | SEASONAL FIRM SALES (TOTAL) | SEASONAL ADJUSTED NET DEMAND (Column 3 - 5 + 6) | ANNUAL ADJUSTED NET DEMAND (Column 4 - 5 + 6) | NET GENERATING CAPABILITY | PARTICIPATION PURCHASES (TOTAL) | PARTICIPATION SALES (TOTAL) | ADJUSTED NET CAPABILITY (Column 9 + 10 - 11) | NET RESERVE CAPACITY OBLIGATION | TOTAL FIRM CAPACITY OBLIGATION (Column 7 + 13) | SURPLUS (+) OR DEFICIT (-) CAPACITY (Column 12 - 14)
Past Year | 2024 | Summer | 1327.23 |  | 1327.23 | 1327.23 | 312 | 775.6 | 1790.83 | 1790.83 | 1480.7 | 982 |  | 2462.7 | 104.8512 | 1895.6812 | 567.0188
|  | Winter | 1287.86 |  | 1287.86 | 1327.23 | 743 | 572.28 | 1117.14 | 1156.51 | 1657.1 | 768 | 200 | 2225.1 | 236.9662 | 1354.1062 | 870.9938
Present Year | 2025 | Summer | 1436.89 |  | 1436.89 | 1436.89 | 312 | 802.62 | 1927.51 | 1927.51 | 1480.7 | 876 |  | 2356.7 | 113.5143 | 2041.0243 | 315.6757
|  | Winter | 1341.54 |  | 1341.54 | 1436.89 | 743 | 588.86 | 1187.4 | 1282.75 | 1657.1 | 662 | 200 | 2119.1 | 246.8434 | 1434.2434 | 684.8566
1st Forecast Year | 2026 | Summer | 1475.53 |  | 1475.53 | 1475.53 | 311 | 803.68 | 1968.21 | 1968.21 | 1480.7 | 826 |  | 2306.7 | 116.5669 | 2084.7769 | 221.9231
|  | Winter | 1385.47 |  | 1385.47 | 1475.53 | 740 | 572.83 | 1218.3 | 1308.36 | 1657.1 | 612 | 200 | 2069.1 | 254.9265 | 1473.2265 | 595.8735
2nd Forecast Year | 2027 | Summer | 1487.31 |  | 1487.31 | 1487.31 | 311 | 804.88 | 1981.19 | 1981.19 | 1480.7 | 806 |  | 2286.7 | 117.4975 | 2098.6875 | 188.0125
|  | Winter | 1396.19 |  | 1396.19 | 1487.31 | 689 | 572.8 | 1279.99 | 1371.11 | 1657.1 | 592 | 200 | 2049.1 | 256.899 | 1536.889 | 512.211
3rd Forecast Year | 2028 | Summer | 1499.19 |  | 1499.19 | 1499.19 | 336 | 806.23 | 1969.42 | 1969.42 | 1480.7 | 806 |  | 2286.7 | 118.436 | 2087.856 | 198.844
|  | Winter | 1406.28 |  | 1406.28 | 1499.19 | 1050 | 572.86 | 929.14 | 1022.05 | 1657.1 | 592 | 200 | 2049.1 | 258.7555 | 1187.8955 | 861.2045
4th Forecast Year | 2029 | Summer | 1509.32 |  | 1509.32 | 1509.32 | 417 | 807.54 | 1899.86 | 1899.86 | 1480.7 | 806 |  | 2286.7 | 119.2363 | 2019.0963 | 267.6037
|  | Winter | 1418.66 |  | 1418.66 | 1509.32 | 1050 | 573.29 | 941.95 | 1032.61 | 1657.1 | 592 | 200 | 2049.1 | 261.0334 | 1202.9834 | 846.1166
5th Forecast Year | 2030 | Summer | 1518.08 |  | 1518.08 | 1518.08 | 417 | 808.86 | 1909.94 | 1909.94 | 1480.7 | 606 |  | 2086.7 | 119.9283 | 2029.8683 | 56.8317
|  | Winter | 1422.67 |  | 1422.67 | 1518.08 | 1050 | 572.85 | 945.52 | 1040.93 | 1657.1 | 592 |  | 2249.1 | 261.7713 | 1207.2913 | 1041.8087
6th Forecast Year | 2031 | Summer | 1527.1 |  | 1527.1 | 1527.1 | 417 | 810.29 | 1920.39 | 1920.39 | 1480.7 | 256 |  | 1736.7 | 120.6409 | 2041.0309 | -304.3309
|  | Winter | 1429.48 |  | 1429.48 | 1527.1 | 1050 | 572.85 | 952.33 | 1049.95 | 1657.1 | 242 |  | 1899.1 | 263.0243 | 1215.3543 | 683.7457
7th Forecast Year | 2032 | Summer | 1537.63 |  | 1537.63 | 1537.63 | 417 | 811.87 | 1932.5 | 1932.5 | 1480.7 | 256 |  | 1736.7 | 121.4728 | 2053.9728 | -317.2728
|  | Winter | 1436.62 |  | 1436.62 | 1537.63 | 1050 | 572.86 | 959.48 | 1060.49 | 1657.1 | 242 |  | 1899.1 | 264.3381 | 1223.8181 | 675.2819
8th Forecast Year | 2033 | Summer | 1547.66 |  | 1547.66 | 1547.66 | 417 | 813.4 | 1944.06 | 1944.06 | 1480.7 | 256 |  | 1736.7 | 122.2651 | 2066.3251 | -329.6251
|  | Winter | 1447.19 |  | 1447.19 | 1547.66 | 1050 | 573.2 | 970.39 | 1070.86 | 1657.1 | 242 |  | 1899.1 | 266.283 | 1236.673 | 662.427
9th Forecast Year | 2034 | Summer | 1558.37 |  | 1558.37 | 1558.37 | 417 | 814.95 | 1956.32 | 1956.32 | 1480.7 | 256 |  | 1736.7 | 123.1112 | 2079.4312 | -342.7312
|  | Winter | 1450.06 |  | 1450.06 | 1558.37 | 1050 | 572.62 | 972.68 | 1080.99 | 1657.1 | 242 |  | 1899.1 | 266.811 | 1239.491 | 659.609
10th Forecast Year | 2035 | Summer | 1570.85 |  | 1570.85 | 1570.85 | 417 | 816.64 | 1970.49 | 1970.49 | 1480.7 | 256 |  | 1736.7 | 124.0971 | 2094.5871 | -357.8871
|  | Winter | 1457.91 |  | 1457.91 | 1570.85 | 1050 | 572.46 | 980.37 | 1093.31 | 1657.1 | 242 |  | 1899.1 | 268.2554 | 1248.6254 | 650.4746
11th Forecast Year | 2036 | Summer | 1585.26 |  | 1585.26 | 1585.26 | 417 | 818.49 | 1986.75 | 1986.75 | 1480.7 | 256 |  | 1736.7 | 125.2355 | 2111.9855 | -375.2855
|  | Winter | 1466.81 |  | 1466.81 | 1585.26 | 1050 | 572.32 | 989.13 | 1107.58 | 1657.1 | 242 |  | 1899.1 | 269.893 | 1259.023 | 640.077
12th Forecast Year | 2037 | Summer | 1599 |  | 1599 | 1599 | 397 | 820.31 | 2022.31 | 2022.31 | 1480.7 | 256 |  | 1736.7 | 126.321 | 2148.631 | -411.931
|  | Winter | 1479.65 |  | 1479.65 | 1599 | 989 | 572.53 | 1063.18 | 1182.53 | 1657.1 | 242 |  | 1899.1 | 272.2556 | 1335.4356 | 563.6644
13th Forecast Year | 2038 | Summer | 1613 |  | 1613 | 1613 | 397 | 822.12 | 2038.12 | 2038.12 | 1480.7 | 256 |  | 1736.7 | 127.427 | 2165.547 | -428.847
|  | Winter | 1484.39 |  | 1484.39 | 1613 | 989 | 571.87 | 1067.26 | 1195.87 | 1657.1 | 242 |  | 1899.1 | 273.1278 | 1340.3878 | 558.7122
14th Forecast Year | 2039 | Summer | 1628.17 |  | 1628.17 | 1628.17 | 397 | 823.98 | 2055.15 | 2055.15 | 1480.7 | 256 |  | 1736.7 | 128.6254 | 2183.7754 | -447.0754
|  | Winter | 1493.91 |  | 1493.91 | 1628.17 | 989 | 571.64 | 1076.55 | 1210.81 | 1657.1 | 242 |  | 1899.1 | 274.8794 | 1351.4294 | 547.6706
COMMENTS | bar: Column 1 to (Express in MegaWatts) Column 7

## Add&Retire
MINNESOTA ELECTRIC UTILITY INFORMATION REPORTING - FORECAST SECTION (Continued)
CY 2024 |  |  |  | * * * CORRECTED * * * | * * * CORRECTED * * *
7610.0310 Item H. ADDITIONS AND RETIREMENTS |  |  | (Express in MegaWatts)
|  | ADDITIONS | RETIREMENTS
Past Year | 2024
Present Year | 2025 |  | 6
1st Forecast Year | 2026 | 228
2nd Forecast Year | 2027 | 159 | 99
3rd Forecast Year | 2028 | 700
4th Forecast Year | 2029
5th Forecast Year | 2030
6th Forecast Year | 2031
7th Forecast Year | 2032
8th Forecast Year | 2033
9th Forecast Year | 2034
10th Forecast Year | 2035
11th Forecast Year | 2036 |  | 100
12th Forecast Year | 2037
13th Forecast Year | 2038
14th Forecast Year | 2039
COMMENTS

## FuelRequirements
MINNESOTA ELECTRIC UTILITY INFORMATION REPORTING - FORECAST SECTION (Continued) | [11 empty] | * * * CORRECTED * * * | * * * CORRECTED * * *
CY 2024
7610.0430 FUEL REQUIREMENTS AND GENERATION BY FUEL TYPE
Please use the appropriate code for the fuel type as shown in the list at the bottom of this worksheet tab.
|  | FUEL TYPE 1 |  | FUEL TYPE 2 |  | FUEL TYPE 3 |  | FUEL TYPE 4 |  | FUEL TYPE 5 |  | FUEL TYPE 6
|  | Name of Fuel | LIG | Name of Fuel | NG | Name of Fuel | FO2 | Name of Fuel |  | Name of Fuel |  | Name of Fuel
|  | Unit of Measure | 1000 lbs | Unit of Measure | MCF | Unit of Measure | 1000 Gals | Unit of Measure |  | Unit of Measure |  | Unit of Measure
|  | QUANTITY OF FUEL USED | NET MWH GENERATED | QUANTITY OF FUEL USED | NET MWH GENERATED | QUANTITY OF FUEL USED | NET MWH GENERATED | QUANTITY OF FUEL USED | NET MWH GENERATED | QUANTITY OF FUEL USED | NET MWH GENERATED | QUANTITY OF FUEL USED | NET MWH GENERATED
Past Year | 2024 | 102714 | 16115 | 6486028 | 416015 | 406 | 3044
Present Year | 2025 | 176943 | 24486 | 6636328 | 437582 | 72 | 1000
1st Forecast Year | 2026 | 176943 | 24486 | 6636328 | 437582 | 72 | 1000
2nd Forecast Year | 2027 | - | - | 6636328 | 437582 | 72 | 1000
3rd Forecast Year | 2028 | - | - | 6636328 | 437582 | 72 | 1000
4th Forecast Year | 2029 | - | - | 6636328 | 437582 | 72 | 1000
5th Forecast Year | 2030 | - | - | 6636328 | 437582 | 72 | 1000
6th Forecast Year | 2031 | - | - | 6636328 | 437582 | 72 | 1000
7th Forecast Year | 2032 | - | - | 6636328 | 437582 | 72 | 1000
8th Forecast Year | 2033 | - | - | 6636328 | 437582 | 72 | 1000
9th Forecast Year | 2034 | - | - | 6636328 | 437582 | 72 | 1000
10th Forecast Year | 2035 | - | - | 6636328 | 437582 | 72 | 1000
11th Forecast Year | 2036 | - | - | 6636328 | 437582 | 72 | 1000
12th Forecast Year | 2037 | - | - | 6636328 | 437582 | 72 | 1000
13th Forecast Year | 2038 | - | - | 6636328 | 437582 | 72 | 1000
14th Forecast Year | 2039 | - | - | 6636328 | 437582 | 72 | 1000
LIST OF FUEL TYPES
|  | BIT - Bituminous Coal |  | LPG - Liquefied Propane Gas |  |  | HYD - Hydro (Water)
|  | COAL - Coal (General) |  | NG - Natural Gas |  |  | WIND - Wind
|  | DIESEL - Diesel |  | NUC - Nuclear |  |  | WOOD - Wood
|  | FO2 - Fuel Oil #2 (Mid-Distillate) |  | REF - Refuse, Bagasse, Peat, Non-wood waste |  |  | SOLAR - Solar
|  | FO6 - Fuel Oil #6 (Residual Fuel Oil) |  | STM - Steam
|  | LIG - Lignite |  | SUB - Sub-bituminous coal
COMMENTS

## Transmission
MINNESOTA ELECTRIC UTILITY INFORMATION REPORTING - FORECAST SECTION (Continued) | [8 empty] | * * * CORRECTED * * *
CY 2024
7610.0500 TRANSMISSION LINES
Subpart 1. Existing transmission lines. Each utility shall report the following information in regard to each transmission line of 200 kilovolts now in existence:
A. | a map showing the location of each line;
B. | the design voltage of each line;
C. | the size and type of conductor;
D. | the approximate location of d.c. terminals or a.c. substations; and
E. | the approximate length of each line in Minnesota.
Subpart 2. Transmission line additions. Each generating and transmission utility, as defined in part 7610.0100, shall report the information required in subpart 1 for all future transmission lines over 200 kilovolts that the utility plans to build within the next 15 years.
Subpart 3. Transmission line retirements. Each generating and transmission utility, as defined in part 7610.0100, shall identify all present transmission lines over 200 kilovolts that the utility plans to retire within the next 15 years.
In Use (enter X for selection) | To Be Built (enter X for selection) | To Be Retired (enter X for selection) | DESIGN VOLTAGE | SIZE OF CONDUCTOR | TYPE OF CONDUCTOR | D.C. OR A.C. (specify) | LOCATION OF D.C. TERMINALS OR A.C. SUBSTATIONS | INDICATE YEAR IF "TO BE BUILT" OR "RETIRED" | LENGTH IN MINNESOTA (miles)
X |  |  | 230 kV | 795 | ACSR | AC | From Mud Lake to Riverton |  | 8.57
X |  |  | 230 kV | 795 | ACSR | AC | From Benton County to Mud Lake |  | 54.19
X |  | X | 230 kV | 795 | ACSR | AC | From Benton County to Monticello | 2030 | 21.61
X |  |  | 230 kV | 795 | ACSR | AC | From Elk River to Monticello |  | 16.9
X |  |  | 230 kV | 795 | ACSR | AC | From Elk River to Bunker Lake |  | 16.19
X |  |  | 230 kV | 795 | ACSR | AC | From Bunker Lake to Blaine |  | 12.94
X |  |  | 230 kV | 795 | ACSR | AC | From Blaine to Linwood |  | 16.95
X |  |  | 230 kV | 795 | ACSR | AC | From Linwood to Rush City |  | 24.32
X |  |  | 230 kV | 795 | ACSR | AC | From Rush City to Arrowhead |  | 0.59
X |  |  | 230 kV | 795 | ACSR | AC | From Rush City to Red Rock |  | 0.59
X |  |  | 230 kV | 795 | ACSR | AC | From Willmar to Granite Falls [GRE/WMU] |  | 30.9
X |  |  | 230 kV | 1272 | ACSR | AC | From Benton County to Milaca [SMMPA/GRE] |  | 26.05
X |  |  | 230 kV | 795 | ACSR | AC | From Wing River to Inman |  | 19.44
X |  |  | 230 kV | 795 | ACSR | AC | From Henning to Inman |  | 3.72
X |  |  | 230 kV | 795 | ACSR | AC | From Riverton to Wing River [MP/GRE] |  | 49.28
X |  |  | 345 kV | 2-954 | ACSR | AC | From Dickinson (Rockford) to Maple Grove |  | 18.57
X |  |  | 345 kV | 2-954 | ACSR | AC | From Maple Grove Tap to NSP Coon Creek |  | 8.39
X |  |  | 345 kV | 1192 | ACSR | AC | From Sherburne Co. to Benton Co. |  | 21.4
X |  |  | 500 kV | 3-1192 | ACSR | AC | From Forbes to Denham |  | 69.77
X |  |  | 230 kV | 795 | ACSR | AC | From Cass Lake to Boswell |  | 51.46
X |  |  | 345 kV | 2-954 | ACSS | AC | From Monticello to Quarry |  | 28.77
X |  |  | 345 kV | 2-954 | ACSS | AC | From Quarry to Riverview |  | 35.08
X |  |  | 345 kV | 2-954 | ACSS | AC | From Riverview to Alexandria Switching Station |  | 42.35
X |  |  | 345 kV | 2-954 | ACSS | AC | From Alexandria Switching Station to MN/ND border |  | 100
X |  |  | 345 kV | 2-954 | ACSS | AC | From SD/MN border to Hampton Corner |  | 207
X |  |  | 345 kV | 2-954 | ACSS | AC | From Lyon County to Hazel Creek |  | 24.34
X |  |  | 345 kV (operate at 230 kV) | 2-954 | ACSS | AC | From Hazel Creek to Minnesota Valley |  | 5.07
| X |  | 345 kV | 2-795 | ACSR-VR2 | AC | From Forbes to Cuyuna [Northland Reliability Project] | 2030 | ~77
| X |  | 345 kV | 2-795 | ACSR-VR2 | AC | From Cuyuna to Benton County [Northland Reliability Project] | 2030 | ~63
| X |  | 345 kV | 2-795 | ACSR-VR2 | AC | From Benton County to Big Oaks [Northland Reliability Project] | 2030 | ~20
COMMENTS

## PeakDay
MINNESOTA ELECTRIC UTILITY INFORMATION REPORTING - FORECAST SECTION (Continued)
CY 2024 |  |  |  | * * * CORRECTED * * * | * * * CORRECTED * * *
7610.0600, item A. 24 - HOUR PEAK DAY DEMAND
Each utility shall provide the following information for the last calendar year:
A table of the demand in megawatts by the hour over a 24-hour period for:
1. the 24-hour period during the summer season when the megawatt demand on the system was the greatest; and
2. the 24-hour period during the winter season when the megawatt demand on the system was the greatest.
| DATE OF PEAK DAY DEMAND | DATE OF PEAK DAY DEMAND
| 7/29/2024 | 2024-12-12 | <= ENTER DATES
TIME OF DAY | MW USED ON SUMMER PEAK DAY | MW USED ON WINTER PEAK DAY
0100 | 809 | 1219
0200 | 756 | 1172
0300 | 724 | 1153
0400 | 707 | 1140
0500 | 709 | 1143
0600 | 744 | 1176
0700 | 794 | 1197
0800 | 857 | 1224
0900 | 908 | 1210
1000 | 955 | 1179
1100 | 1008 | 1139
1200 | 1079 | 1107
1300 | 1143 | 1087
1400 | 1201 | 1099
1500 | 1243 | 1095
1600 | 1278 | 1019
1700 | 1310 | 979
1800 | 1340 | 1038
1900 | 1338 | 1036
2000 | 1294 | 1032
2100 | 1228 | 1198
2200 | 1163 | 1244
2300 | 1094 | 1282
2400 | 970 | 1262
COMMENTS

## Attachments
MINNESOTA ELECTRIC UTILITY ANNUAL REPORT - FORECAST SECTION
CY 2024
REMEMBER TO SEND/UPLOAD THE FOLLOWING ATTACHMENTS:
DO NOT INSERT THE ATTACHMENT INTO THIS WORKBOOK |  | < = < = < | NOTE < = <
1 | Each utility shall report the following information in regard to each transmission line of 200 kilovolts now in existence: a. a map showing the location of each line; b. the design voltage of each line; c. the size and type of conductor; d. the approximate location of d.c. terminals or a.c. substations; and e. the approximate length of each line in Minnesota. (pursuant to MN Rules Chapter 7610.0500 Subpart 1, Existing transmission lines)
When submitting this workbook and attachments, please following the file naming format of:
ELEC_###_2024 Forecast Report (this workbook)
ELEC_###_2024 TL Map
NOTE: ### is your Utility Entity number found in Cell C5 on the Registration Tab

## BlankPlant (hidden)
MINNESOTA ELECTRIC UTILITY ANNUAL REPORT (Continued)
7610.0430 FUEL REQUIREMENTS AND GENERATION BY FUEL TYPE
POWER PLANT AND GENERATING UNIT DATA REPORT: 2003
INSTRUCTIONS: | Complete one worksheet for each power plant
Scroll down below the data entry tables to see the ALLOWABLE CODES to be used for Unit Status, Unit Type, Energy Source, Fuel Type, and Unit of Measure fields
Scroll down below the ALLOWABLE CODES to see DEFINITIONS for Capacity Factor, Operating Factor and Forced Outage Rate.
A. PLANT DATA
PLANT NAME |  |  | PLANT ID | (leave this cell blank)
STREET ADDRESS
CITY
STATE |  |  | NUMBER OF UNITS
ZIP CODE
COUNTY
CONTACT PERSON
TELEPHONE
B. INDIVIDUAL GENERATING UNIT DATA
| Unit ID # | Unit Status * | Unit Type ** | Year Installed | Energy Source *** | Net Generation (mwh) | Comments
C. UNIT CAPABILITY DATA |  | CAPACITY (MEGAWATTS)
| Unit ID # | Summer | Winter | Capacity Factor (%) | Operating Factor (%) | Forced Outage Rate (%) | Comments
D. UNIT FUEL USED |  | PRIMARY FUEL USE |  |  |  | SECONDARY FUEL USE
| Unit ID # | Fuel Type *** | Quantity | Unit of Measure **** | BTU Content (for coal only) | Fuel Type | Quantity | Unit of Measure **** | BTU Content (for coal only)
ALLOWABLE CODES
Cell Heading | Code | Code Definition |  | Cell Heading | Code | Code Definition
* Unit Status | USE | In-use |  | ** Unit Type | CS | Combined Cycle
| STB | Stand-by |  |  | IC | Internal Combustion (Diesel)
| RET | Retired |  |  | GT | Combustion (Gas) Turbine
| FUT | Future |  |  | HC | Hydro
| OTHER | Other - provide description |  |  | ST | Steam Turbine (Boiler)
[5 empty] | NC | Nuclear
*** Energy Source & | BIT | Bituminous Coal |  |  | WI | Wind
Fuel Type | COAL | Coal (general) |  |  | OTHER | Other - provide description
| DIESEL | Diesel
| FO2 | Fuel Oil #2 (Mid Distillate) |  | **** Unit of Measure | GAL | Gallons
| FO6 | Fuel Oil #6 (Residual Fuel Oil) |  |  | MCF | Thousand cubic feet
| LIG | Lignite |  |  | MMCF | Million cubic feet
| LPG | Liquefied Propane Gas |  |  | TONS | Tons
| NG | Natural Gas |  |  | BBL | Barrels
| NUC | Nuclear |  |  | THERMS | Therms
| REF | Refuse, Bagasse, Peat, Non-wood waste
| STM | Steam
| SUB | Sub-Bituminous Coal
| HYD | Hydro (Water)
| WIND | Wind
| WOOD | Wood
| SOLAR | Solar
| OTHER | Other - provide description
DEFINITIONS
Forced Outage Rate = | Hours Unit Failed to be Available X 100 |  |  | Note: Failure of a unit to be available does not include down time for scheduled maintenance.
(percentage) | Hours Unit Called Upon to Produce
Operating Availability = | 100 - Maintenance percentage - Forced Outage percentage |  |  | Note: Maintenance percentage is the number of hours of scheduled maintenance divided by 8,760.
(percentage)
Capacity Factor = | Total Annual MWH of Production X 100
(percentage) | Accredited Capacity Rating (MW) of the Unit X 8,760